ECE341 Spring 2005

Final

June 2, 2005

Name (print) _____________________________________________

Last 4 digits of your social security number ____________________	Score_____________

Notice:

- There are 3 problems on the following 7 pages.

- You have 78 minutes (10:30 – 11:48) to finish the problems.

- Please read the problem carefully.

- Draw circuit diagrams, show all the steps, and WINDOW THE FINAL ANSWERS.

Problem 1 (30 points): A 240-V, 20-kVA, 0.8-PF-lagging, 60-Hz, four-pole, Y-connected synchronous generator has a synchronous reactance of 0.2 (. This generator is operating in parallel with a large power system (infinite bus).

- What are the maximum, minimum, and average speeds of this generator in RPM? (5 pts)

- What is the magnitude of EA at rated conditions? (15 pts)

- If the field current is constant, what is the maximum torque possible out of this generator (in Nm)? (10 pts)

Solution:

(Prob 1 cont’d)

Problem 2 (30 pts): A 208-V, 60-Hz, four-pole, Y-connected induction motor is rotating with a speed of 1710 RPM. The equivalent circuit components are

- What is the slip of the motor? (5 pts)

- Compute the line current IL and input power Pin. (10 pts)

- Compute the load torque in Nm. (15 pts)

Solution:

(Prob 2 cont’d)

Problem 3 (40 points): A 2.4 kVA, 240/120 V single phase transformer is tested on LV side with the following data:

Short-circuit test: Vsc=15.0 V, Isc=10.0 A, Psc=18.0 W

Open-circuit test: Voc=120 V, Ioc=0.7 A, Poc= 15.0 W

- Assume Sb=10 kVA and compute ZbHV, ZbLV, and per unit equivalent circuit parameters of the transformer. (30 points)

- The transformer is loaded at 50% of rated power with 0.8 pf leading on the LV side and high voltage (HV) side is kept constant at 240 V. Compute the load voltage ignoring the excitation branch (shunt branch) in the equivalent circuit. (10 points)

Solution:

(Prob 3 cont’d 1)

(Prob 3 cont’d 2)

# Text boxes

### “No aid is given, received or observed”         Signature_____________