ECE341 Spring 2005

Quiz #2

May 05, 2005

Name (print) ____________________________________________

Last 4 digits of your social security number ____________________	Grade_____________

Notice:

- There is 1 problem on the following page.

- You have 20 minutes to finish the problem.

- Please read the problem carefully.

- Draw circuit diagrams, show all the steps, and WINDOW THE FINAL ANSWERS.

Problem: A three-phase Wye-Delta connected transformer bank is rated at 13.8kV(Wye)/138kV(Delta), 1000kVA and 8% short circuit reactance. Assume the low voltage side is short circuited while the high voltage side is supplied from a three-phase source at the rated voltage of the high voltage side. Determine the line and phase (winding) currents on the high voltage side. (100 points)

Solution:

The test circuit:

The per-unit equivalent circuit:

(

(

# Text boxes

### “No aid is given, received or observed”         Signature_____________