Homework Set #3 (ECE743)

1. Problem 1:

An iron-core transformer which has two windings is shown below. N1 = 50 turns, N2 = 100 turns, and (r = 4000.

- Calculate L12, Lm1, and Lm2.

- Indicate the polarity of coupled coils with appropriate dots.

2. Problem 2:

Two coupled coils have the following parameters: r1 = 10 (, Ll1 = 0.1(L11, r2 = 2.5 (, Ll2 = 0.1(L22, L11 = 100 mH, N1 = 100 turns, L22 = 25 mH, N2 = 50 turns.

Develop an equivalent “T” circuit with

- Winding 1 as the reference winding.

- Winding 2 as the reference winding.

3. Problem 3:

Two coupled coils have the following parameters: r1 = 10 (, Ll1 = 0.1(L11, r2 = 2.5 (, Ll2 = 0.1(L22, L11 = 100 mH, N1 = 100 turns, L22 = 25 mH, N2 = 50 turns.

Develop a coupled coil equivalent circuit and compared with its “T” equivalent circuit.

4. Problem 4:

Consider a two-winding transformer with a “T” equivalent circuit model given below. Assume r1 = 6 (, Lm1 = 263.9 mH, Ll1 = 13.5 mH, r2( = 5 (, Ll2( = 13.5 mH. Compute the transient response of the transformer winding “1” current i1(t), assuming the windings are initially unexcited and winding “2” is open-circuited.

- When the switch is closed, the sinusoidal input voltage is at its maximum value.

- When the switch is closed, the input voltage is at its zero crossing point ((e = 377 rad/sec and Vmax = (2(110 volts).

5. Problem 5:

Consider the elementary electromagnet shown below. Assume that the cross-sectional area of the stationary and movable member is the same and Ai = Ag = 4 cm2. Assume li = 20 cm, N = 500 turns, and (ri = 1000.

- Derive an expression for the magnetizing inductance Lm(x).

- Compute the value of the magnetizing inductance when x = 1mm.